CHROMagar COL-APSE: A Selective Bacterial Culture Medium for the Isolation and Differentiation of Colistin Resistant Gram-negative Pathogens.

Muhd Haziq F. Abdul Momin1, David C. Bean2, Rene S. Hendriksen3, Marisa Haenni 4, Lynette M. Phee1,5, David W. Wareham1*,5

Authors affiliations: 1Antimicrobial Research Group, Blizard Institute, Barts & The London School of Medicine and Dentistry, Queen Mary University of London, London, UK; 2School of Applied & Biomedical Sciences, Federation University Australia, Ballarat, Australia; 3Technical University of Denmark, National Food Institute, WHO Collaborating Centre for Antimicrobial Resistance in Foodborne Pathogens and Genomics, European Union Reference Laboratory for Antimicrobial Resistance (EURL-AMR), Kgs. Lyngby, DK-2800, Denmark; 4Unité Antibiorésistance et Virulence Bactériennes, Université Lyon-ANSES Site de Lyon, Lyon, France; 5 Division of Infection, Barts Health NHS Trust, London, UK

*Correspondence: Dr D. Wareham, d.w.wareham@qmul.ac.uk

Keywords: CHROMagar COL-APSE, colistin, Resistance, MCR-1

Abbreviations: MIC, Minimum Inhibitory Concentration; COL, Colistin; POL B, Polymyxin B; pEtN, Phosphoethanolomine transferases; PNPG, p-nitrophenyl glycerol.

ABSTRACT

Purpose

A selective chromogenic culture media for the laboratory isolation and differentiation of colistin resistant Acinetobacter, Pseudomonas, Stenotrophomonas and Enterobacteriaceae spp. (CHROMagar COL-APSE) was developed, evaluated and compared to an existing selective bacterial culture medium (SuperPolymyxin).

Methodology

Media were challenged with eighty-four isolates including polymyxin B (POL B) susceptible and resistant type strains and colistin (COL) resistant organisms recovered from human and animal samples. Susceptibility to COL and POL B was determined by agar dilution and broth microtitre dilution. The lower limit for the detection of COL resistant organisms was also calculated for both CHROMagar COL-APSE and SuperPolymyxin media. The ability to isolate and correctly differentiate COL resistant organisms within mixed cultures was also assessed and compared using both media.

Results

Using CHROMagar COL-APSE, Gram-negative pathogens (n=71) with intrinsic (n=8) or acquired COL (n=63) resistance were recovered with 100 % specificity down to the lower limit of detection of 101 CFU (Colony Forming Units).  Growth on SuperPolymyxin was similar, but notably weaker for COL resistant non-fermentative bacteria (Acinetobacter, Pseudomonas, Stenotrophomonas). CHROMagar COL-APSE was also more sensitive in supporting growth of Enterobacteriaceae with COL resistance associated with the carriage of mcr-1.

Conclusion

CHROMagar COL-APSE is a sensitive and specific media for the growth of COL resistant bacterial pathogens. Due to the low limit of detection (101 CFU), it may be useful as a primary isolation medium in the surveillance and recovery of COL resistant bacteria from complex human, veterinary and environmental samples especially those with plasmid mediated MCR-1 or novel mechanisms of polymyxin resistance.

INTRODUCTION

Polymyxin B and E (colistin) are increasingly used in the treatment of multi-drug resistant bacterial infections. Both are cationic polypeptides that bind the lipopolysaccharides (LPS) of Gram-negative bacteria and disrupt the outer membrane. Polymyxin resistance (PR), although intrinsic amongst Gram-positive and some Gram-negative species (Proteus, Morganella, Serratia spp.), is an emerging problem in a number of other pathogens (Acinetobacter baumannii, Pseudomonas aeruginosa, Escherichia coli, Salmonella enterica, Klebsiella pneumoniae). Resistance can occur due to mutations / insertions in genes involved in LPS biosynthesis (lpx, pmrA/B, mgrB, phoP/Q) and / or can be acquired by the horizontal transmission of genes encoding phosphoethanolamine transferase (pEtN) enzymes. Plasmid mediated colistin (COL) resistance due to the mcr-1 pEtN gene was recently identified in China [1]. Since it was first described, bacteria producing MCR-1 have been found in a wide range of food producing animals, human and environmental sources. Moreover, MCR-1 producing isolates are often pan (PDR) or extensively (XDR) drug resistant, which significantly limits the therapeutic options for these organisms.

A sensitive and specific means for the isolation of PR organisms is critical for any strategy aimed at monitoring the spread of these isolates and identifying new resistance determinants. Furthermore, polymyxin resistance may often be low level or unstable (heteroresistance), and there are well established difficulties (e.g., cation concentrations in broth, adsorption of colistin to plastics, poor diffusion in agar) in the accurate determination of COL MICs [2]. Molecular detection is limited to the small number of mutations (mcr-1 – 1.8) and MCR-like alleles (mcr-2, mcr-3, mcr-4) discovered to date [1, 3].

Selective bacterial culture media offers a means to rapidly detect and identify organisms with resistance to polymyxins. One such medium, SuperPolymyxin, uses an Eosin Methylene Blue (EMB) agar base with selection for PR Gram-negative bacteria achieved by the addition of a low concentration of COL (3.5 µg/ml), along with daptomycin (10 µg/ml) and amphotericin B (5 µg/ml) to suppress Gram-positive and fungal growth. This medium has been evaluated, and proven to be sensitive and specific in the selective growth of PR resistant Enterobacteriaceae, either from pure cultures or using spiked stool samples [4]. Here we describe an alternative media, CHROMagar COL-APSE, designed to be selective in the isolation and differentiation of all strains of Acinetobacter (A), Pseudomonas (P), Stenotrophomonas (S) and Enterobacteriaceae (E) with either intrinsic, acquired or uncharacterised mechanisms of resistance. A potential advantage compared with SuperPolymyxin would be the ability to recover and differentiate PR non-fermentative Gram-negative organisms as well as Enterobacteriaceae.

METHODS

Media preparation

CHROMagar COL-APSE plates were prepared in-house using dehydrated CHROMagar base media (CHROMagarTM, Paris, France) supplemented as in Table 1 with the CHROMagar COL-APSE supplement (X192). This contains antimicrobials (colistin sulfate / oxazolidonones) at concentrations designed to enhance the growth of PR Gram-negative species, suppress the growth of Gram-positive bacteria, whilst avoiding significant synergy between the active compounds. This medium was not autoclaved, but instead sterilized by boiling at 100 °C in order to preserve the chromogenic compounds included in the mixture, prior to the addition of all supplements. All additional antibiotics used (colistin sulfate, polymyxin B, daptomycin, amphotericin B) were sourced from Sigma-Aldrich (Gillingham, UK) or Cambridge Bioscience (Cambridge, UK) and prepared as stock solutions (10,000 µg/ml – 100 µg/ml) in distilled water. Those containing COL or polymyxin B (POL B) were handled only in glass tubes and used within 24 hrs. SuperPolymyxin plates were prepared exactly as described by Nordmann et al [4] using EMB manufactured by Thermo Fisher Oxoid (Basingstoke, UK). CHROMagar COL-APSE media for use with samples containing Proteus spp. were prepared with the addition of 50 mg/L p-nitrophenyl glycerol (PNPG).

Bacterial isolates and Determination of Polymyxin Minimum Inhibitory concentrations (MICs)

Eighty-four isolates were used in the evaluation of CHROMagar COL-APSE media (Table 2). These included  8 isolates with intrinsic COL resistance (1 clinical human and 7 type strains), 13 COL susceptible isolates (6 human clinical, 3 veterinary clinical and 4 type strains) and 63 isolates with acquired COL resistance (5 human clinical and 58 veterinary clinical) contained within our collections.

The MICs of COL and POL B (0.006 – 256 µg/ml) were determined for each isolate by agar dilution on Mueller-Hinton II (MH 2) agar [5]. Plates were seeded with 104 CFU using a multi-point inoculator and examined for growth after incubation at 37 °C for 18 hrs. Susceptibility (≤ 2-4 µg/ml) and resistance (> 2-8 µg/ml) to either COL or POL B were interpreted according to current CLSI and / or EUCAST species specific breakpoints where available [6, 7]. Susceptibility to COL was also determined by broth microtitre dilution (BMD) to enable the MICs to be compared to those obtained  on solid media.

All clinical isolates were additionally screened for the presence of  mcr related genes by PCR using CLR5-F (5ʹ-CGGTCAGTCCGTTTGTTC-3ʹ), CLR5-R (5ʹ-CTTGGTCGGTCTGTAGGG-3ʹ), MCR2-F (5’-TGGTACAGCCCCTTTATT-3’) and MCR2-R (5’-GCTTGAGATTGGGTTATGA-3’) primers for the detection of mcr-1-1.8 and mcr-2 , respectively [1, 3].

Comparative Growth on Selective Media

The ability of CHROMagar COL-APSE and SuperPolymyxin to support or suppress growth was first assessed using a fixed inoculum of 103 CFU of each strain. Overnight cultures were used to prepare a 0.5 McFarland standard (1.5 x 108 CFU) further diluted in 0.85% saline (OXOID, United Kingdom) and used to inoculate supplemented and un-supplemented CHROMagar and SuperPolymyxin (EMB) base plates.

Lower Limit of Detection (LLD)

Sensitivity was compared by determining the lowest number (CFU) of COL resistant bacteria in the inocula required for growth on each media. The lowest limit of detection (LLD) was assessed using serial dilutions (10-1 – 10-9) of overnight cultures grown at 37 °C for 24 h in 3 ml of Luria-Bertani (LB) broth. Ten-fold serial dilutions were made in 0.85 % saline (volume / volume) and 20 μl of each dilution plated onto unsupplemented MH 2 (control), CHROMagar COL-APSE and SuperPolymyxin agar plates using the Miles and Misra procedure [11]. Following incubation for 24 h at 37°C, colonies were counted and the number of bacteria recovered expressed as colony forming units per ml (CFU/ml). Colony counts after incubation on CHROMagar COL-APSE and SuperPolymyxin agar were subtracted from the number recovered on MH 2 agar to quantify the total number of COL resistant organisms (CFU) within the population plated required for viable growth on each selective media (LLD).

Isolation and Differentiation of Organisms in Mixed Culture

Two pools containing mixtures of COL resistant (R) and COL susceptible (S) organisms were used to assess the performance of the media with complex polymicrobial samples. Pool one consisted of Proteus mirabilis NCTC 13376, A. baumannii AB205 (COL R), E. coli E7 (COL R), E. cloacae NCTC 10005 (COL R), E. faecalis ATCC 2912 (COL R), K. pneumoniae KP19 (COL R), M. morgannii MM2 (COL R), S. marcescens NCTC 10211 (COL R) and P. aeruginosa ATCC 27853 (COL heteroresistant). Pool two consisted of A. baumannii ATCC 19606 (COL S), E. coli ATCC 25922 (COL S), E. faecalis ATCC 2912 (COL R), P. aeruginosa ATCC 27853 (COL heteroresistant) and K. pneumoniae ATCC 9633 (COL S).   Pools were made by mixing single colonies of each isolate in 3 ml 0.85% saline adjusted to a 0.5 McFarland standard (1.5 x 108 CFU/ml), confirmed by viable colony counts. Further dilutions were made to achieve a concentration of 105 CFU/ml and CHROM-agar COL-APSE plates then inoculated with 10 µl (103 CFU), either spread across the entire plate using a L-shaped spreader, or by streaking across the plate using a 10 µl loop   (Figure 2).

The stability of CHROMagar COL-APSE following batch production and storage at 4°C was assessed using media prepared centrally by E&O laboratories (Glasgow, Scotland) tested using P. mirabilis (NCTC 13376), E. coli (ATCC 25922), K. pneumoniae (ATCC 9633) and E. faecalis (ATCC 2912)  as internal and external quality control and the control pools (103 CFU) defined above. Media for use with pools containing P. mirabilis was supplemented with PNPG.

RESULTS

The in-vitro activity (MIC mg/L) of both COL and POL B when determined by agar dilution was comparable (+/- 1 dilution) for all Enterobacteriaceae isolates tested (Table 2). However the MICs of COL and POL B differed by at least three dilutions for S. maltophilia NCTC 10258 and A. baumannii AB205. The mcr-1 gene was present in 61 of the E. coli, 58 (95 %) of which were also phenotypically resistant to COL (MIC >2 µg/ml). Three isolates containing mcr-1 had colistin MICs below the pharmacodynamic breakpoint when the MIC was determined by agar dilution. Three COL resistant A. baumannii and 2 K. pneumoniae (MIC 8 - >256 µg/ml) clinical isolates were also identified and included in the evaluation of both media. The mechanism of resistance in these three strains is yet to be determined, despite sequencing for mutations in mgrB, pmrA/B and the phoP/Q regulatory genes known previously to be associated with mutational polymyxin resistance [8]. When susceptibility to COL was determined by BMD, the MIC of COL was comparable to that determined by agar dilution (+/- 1 dilution vs all strains).

Growth on CHROMagar COL-APSE on plates inoculated with 103 CFU was observed for all COL R Gram-negative isolates. All the COL susceptible Enterobacteriaceae, COL resistant Gram-positive (Enterococci spp) and fungal (Candida spp) isolates failed to grow at these inocula (Figure1). Growth of the P. aeruginosa ATCC 27853 type strain (COL MIC 2 µg/ml) however, was supported on CHROMagar COL-APSE at 103 CFU. Although this isolate is deemed susceptible to COL according to current CLSI breakpoints, and recommended as a control strain for antimicrobial susceptibility testing, it should be noted that it has frequently been shown to exhibit heteroresistance to COL in-vitro when population analysis profiling (PAP) is used as the gold standard [9]. The -70°C stock of ATCC 27853 held in our laboratory used in this study consistently demonstrates heteroresistance to COL when assessed using the PAP method.

Growth on SuperPolymyxin media with an inocula of 103 CFU was similar, but visibly weaker for each of the COL resistant non-fermenters. Growth of one strain of COL resistant A. baumannii (MIC 8 µg/ml) and S. maltophilia (MIC 32 µg/ml) were not supported at all (Figure 1). It is possible that antimicrobial synergy known to exist between COL and daptomycin against A. baumannii [10] could account for the poor growth or inhibition of these species that we observed on SuperPolymyxin agar. In contrast to growth on SuperPolymyxin, the chromogenic properties of the CHROMagar COL-APSE media enabled clear differentiation of COL resistant Enterobacteriaceae from non-fermenters. Phenotypic identification as either dark pink to reddish (E. coli), metallic blue (Klebsiella, Enterobacter, Serratia spp) or colourless, natural pigmentation (Morganella) was also possible whilst on SuperPolymyxin, only COL resistant E. coli could be identified by their metallic green appearance. In the limit of detection studies COL resistant strains could be recovered on both media at 101 CFU whilst growth of strains deemed susceptible to COL was only possible using an inocula of >104 (Table 1).

Stability of the media confirmed there was no reduction in performance (103 CFU/ml) for up to 4 weeks. Swarming of P. mirabilis NCTC 13376 was observed when used to inoculate both CHROMagar COL-APSE and SuperPolymyxin plates. The addition of 50 mg/L p-nitrophenyl glycerol (PNPG) to the CHROMagar COL-APSE plates reduced this significantly (Figure 2).

DISCUSSION

We found both CHROMagar COL-APSE and the SuperPolymxin media were able to support the growth of COL resistant Gram-negative bacteria whilst suppressing COL resistant Gram-positive pathogens. Using clinical isolates, CHROMagar COL-APSE supported the growth of all COL resistant strains down to an inocula as low as 101 CFU. Growth with an inocula of 101 CFU was also supported on SuperPolymyxin, but only for 50/58 (86%) of the E. coli isolates with COL resistance accompanied by mcr-1, suggesting it may have slightly lower sensitivity in the detection of these strains (Table 2). SuperPolymyxin however was found to be better (≥1 dilution) in suppressing the growth of COL susceptible Salmonella spp. Reduced susceptibility to polymyxins in Salmonella Enteritidis and other serogroup 9 strains has been reported and the epidemiological cut-off (> 2 mg/L) for resistance challenged [12]. As the mechanisms for reduced susceptibility reported in Salmonella spp remain unknown, a more sensitive medium may help in the recovery of COL resistant strains and aid in elucidation of alternative resistance mechanisms.

The only other difference we observed between the two media (Table 2) was differential growth of P. aeruginosa ATCC 27853 on CHROMagar COL-APSE (LLD = 102 CFU) when compared to SuperPolymyxin (LLD 105 = CFU). Again this may represent the heteroresistant properties of this strain and a high frequency of COL resistance by spontaneous mutation. As with A. baumannii, synergy between the selective antimicrobials in the media may be responsible for the differential ability of CHROMagar COL-APSE and SuperPolymyxin to identify heteroresistant strains. The clinical relevance of heteroresistance to polymyxins is unclear, although the ability to easily identify such strains may be useful in optimizing or selecting COL based therapies on an individual basis.

Notably, addition of PNPG was beneficial in suppressing swarming of colistin resistant Proteus spp without affecting the performance of the media. This provides a more robust method to select out COL resistant isolates within mixed specimens.

In summary, we developed and evaluated a new chromogenic culture medium for the isolation and identification of COL resistant Gram-negative bacterial pathogens. CHROMagar COL-APSE was similar to SuperPolymyxin as a medium for selective growth of COL resistant organisms, although we found CHROMagar COL-APSE to be slightly more sensitive in the detection of Enterobacteriaceae producing MCR-1,it also provides the benfit of presumptive chromogenic identification. The low limit of detection (101 CFU) of both media suggest either could be used to confirm polymyxin resistance in organisms recovered from other growth media or if employed as a primary isolation medium. Evaluation of the media as tools for  the surveillance and recovery of COL resistant bacteria from complex human, veterinary and environmental samples are therefore underway, focusing on the identification of those with MCR mediated polymyxin resistance.

Funding information

We thank Alberto Lerner for the supply of CHROMagar base media and supplements used in this study and E&O laboratories for commercial production of the media

Conflicts of interest

The author(s) declare that there are no conflicts of interest.

References

1. Liu Y-Y, Wang Y, Walsh TR, Yi L-X, Zhang R, Spencer J, Doi Y, Tian G, Dong B, Huang X, Yu L-F, Gu D, Ren H, Chen X, Lv L, He D, Zhou H, Liang Z, Liu J-H, Shen J. Emergence of plasmid-mediated colistin resistance mechanism MCR-1 in animals and human beings in China: a microbiological and molecular biological study. Lancet Infect Dis 2016;16:161-168.

2. Nation RL, Li J, Cars O, Couet W, Dudley MN, Kaye KS, Mouton JW, Paterson DL, Tam VH, Theuretzbacher U, Tsuji BT, Turnidge JD. Framework for optimisation of the clinical use of colistin and polymyxin B: the Prato polymyxin consensus. Lancet Infect Dis 2015;15:225-34. http://dx.doi.org/10.1016/S1473-3099(14)70850-3.

3. Xavier BB, Lammens C, Ruhal R, Kumar-Singh S, Butaye P, H Goossens H, Malhotra-Kumar S. Identification of a novel plasmid-mediated colistin-resistance gene, mcr-2, in Escherichia coli, Belgium, June 2016. Euro Surveill 2016;21:pii-30280. http://dx.doi.org/10.2807/1560-7917.ES.2016.21.27.30280.

4. Nordmann P, Jayol A, Poirel L. A Universal Culture Medium for Screening Polymyxin-Resistant Gram-Negative Isolates. J Clin Microbiol 2016;54:1395-9. http://dx.doi.org/10.1128/JCM.00446-16.

5. Clinical and Laboratory Standards Institute. Methods for Dilution Antimicrobial Susceptibility Tests for Bacteria That Grow Aerobically. 9th ed. CLSI 2012;32:M07-A9, Wayne, Pennsylvania, USA.

6. Clinical and Laboratory Standards Institute. Performance Standards For Antimicrobial Susceptibility Testing. 25th ed. CLSI 2015;supplement M100S, Wayne, Pennsylvania, USA.

7. European   Committee   on   Antimicrobial   Susceptibility   Testing. Breakpoint  tables  for  interpretation  of  MICs  and  zone  diameters. EUCAST 2017;Version  7.1.

# 8. Jayol A, Nordmann P, Brink A, Poirel L. Heteroresistance to colistin in Klebsiella pneumoniae associated with alterations in the PhoPQ regulatory system. Antimicrob Agents Chemother 2015;59:2780-2784. http://dx.doi.org/10.1128/AAC.05055-14.

# 9. Bergen PJ, Forrest A, Bulitta JB, Tsuji BT, Sidjabat HE, Paterson DL, Li J, Nation RL. Clinically relevant plasma concentrations of colistin in combination with imipenem enhance pharmacodynamic activity against multidrug-resistant Pseudomonas aeruginosa at multiple inocula. Antimicrob Agents Chemother  2011;55:5134-5142. http://dx.doi.org/10.1128/AAC.05028-11.

10.  Phee L, Hornsey M, Wareham DW. In vitro activity of daptomycin in combination with low-dose colistin against a diverse collection of Gram-negative bacterial pathogens. Eur J Clin Microbiol Infect Dis 2013;32:1291-1294. http://dx.doi.org/10.1007/s10096-013-1875-z.

11. Miles AA, Misra SS, Irwin JO. The estimation of the bactericidal power of the blood. J Hyg 1938;38: 732–749. http://dx.doi.org/10.1017/s002217240001158x.

12. Agersø Y, Torpdahl M, Zachariasen C, Seyfarth A, Hammerum AM, Nielsen EM. Tentative colistin epidemiological cut-off value for Salmonella spp. Foodborne Pathog Dis 2012;9:367-369. http://dx.doi.org/10.1089/fpd.2011.

Table 1. Preparation of CHROMagar COL-APSE plates

| Compound |  |  | Amount / L1 |
| --- | --- | --- | --- |
| CHROMagar base media |  |  | 42.5g |
| Distilled water |  |  | 1000 ml |
| Sterilize by heating to 100 °C CHROMagar growth supplement S1 |  |  | 2 ml |
| CHROMagar COL-APSE Supplement (X192) |  |  | 4 ml |

1 For the production of 50 x 20 ml CHROMagar COL-APSE plates

Table 2. Characteristics of Bacterial Isolates

| Isolate | MIC (mg/L)/ Agar dilution | Polymyxin Resistance Mechanism | Lowest Limit of Detection (CFU) |
| --- | --- | --- | --- |
|  | Colistin | Polymyxin B |  | CHROMagar COL-APSE | SuperPolymyxin |
| Intrinsic Resistance to Polymyxins |  |  |  |  |  |
| P. mirabilis NCTC 13376 | >256 | >256 | Intrinsic | 10 1 | 10 1 |
| S. marcescens NCTC 10211 | >256 | >256 | Intrinsic | 10 1 | 10 1 |
| M. morgannii MM2 | >256 | >256 | Intrinsic | 10 1 | 10 1 |
| E. faecalis ATCC 2912 | >256 | 256 | Intrinsic | >10 9 | >10 9 |
| E. gallinarum ATCC 49573 | >256 | >256 | Intrinsic | >10 8 | >10 8 |
| C. albicans ATCC 10231 | 256 | 256 | Intrinsic | >10 7 | >10 7 |
| E. cloacae NCTC 10005 | 128 | 256 | Intrinsic | 10 2 | 10 1† |
| S. maltophilia NCTC 10258 | 8 | 64 | Intrinsic | 10 1* | 10 2 |
| Susceptible to Polymyxins |  |  |  |  |  |
| P. aeruginosa ATCC 27853 | 2 | 2 | NA | 10 2* | 10 5 |
| Salmonella enterica Group D (non-Typhi) Sal3 | 2 | 2 | N/A | 10 4* | 10 6 |
| E. coli E17 | 1 | 2 | MCR-1 | 10 7 | 10 7 |
| Salmonella enterica subsp. diarizonae Sal1 | 1 | 2 | N/A | 10 5* | 10 6 |
| A. baumannii ATCC 19606 | 1 | 2 | NA | 10 6 | 10 6 |
| E. coli E44 | 1 | 1 | MCR-1 | >10 9 | >10 9 |
| Salmonella enterica subsp. diarizonae Sal4 | 1 | 1 | N/A | 10 5* | 10 6 |
| K. pneumoniae KP32 | 0.5 | 1 | NA | 10 6 | 10 6 |
| Salmonella enterica subsp. diarizonae Sal2 | 0.5 | 1 | N/A | 10 5* | 10 6 |
| Salmonella enterica Group D (non-Typhi) Sal5 | 0.5 | 1 | N/A | 10 3* | 10 5 |
| E. coli ATCC 25922 | 0.5 | 0.5 | NA | 10 6 | 10 6 |
| E. coli 408756 | 0.5 | 0.5 | MCR-1 | 10 6 | 10 6 |
| K. pneumoniae ATCC 9633 | 0.5 | 0.5 | NA | >10 9* | 10 5 |
| Acquired Resistance to polymxins |  |  |  |  |  |
| A. baumannii AB219 | >256 | >256 | Unknown | 10 1 | 10 1 |
| A. baumannii AB205 | >256 | 32 | Unknown | 10 1 | 10 1 |
| A. baumannii AB287 | 8 | 4 | Unknown | 10 1* | 10 2 |
| K. pneumoniae KP6 | 128 | 256 | Unknown | 10 1 | 10 1 |
| K. pneumoniae KP19 | 64 | 64 | Unknown | 10 1 | 10 1 |
| E. coli 35095 | >256 | >256 | MCR-1 | 10 1 | 10 1 |
| E. coli 35175 | 64 | 32 | MCR-1 | 10 1 | 10 1 |
| E. coli 29881 | 32 | 32 | MCR-1 | 10 1 | 10 1 |
| E. coli 33907 | 32 | 32 | MCR-1 | 10 1 | 10 1 |
| E. coli 34936 | 32 | 32 | MCR-1 | 10 1 | 10 1 |
| E. coli 35593 | 32 | 32 | MCR-1 | 10 1 | 10 1 |
| E. coli E10 | 32 | 16 | MCR-1 | 10 1* | 10 4 |
| E. coli E9 | 32 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E33 | 32 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E3 | 32 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E1 | 32 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E35 | 32 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E29 | 32 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E32 | 32 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E13 | 32 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E24 | 32 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E20 | 32 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E25 | 32 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E27 | 16 | 32 | MCR-1 | 10 1 | 10 1 |
| E. coli E8 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E11 | 16 | 16 | MCR-1 | 10 1* | 10 2 |
| E. coli E39 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E40 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E34 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E2 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli 412049521 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E37 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E41 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E36 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E31 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E30 | 16 | 16 | MCR-1 | 10 1* | 10 3 |
| E. coli E14 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E12 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli 14042624 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli 412016126 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E22 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E19 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E7 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E47 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E49 | 16 | 16 | MCR-1 | 10 1* | 10 3 |
| E. coli E5 | 16 | 16 | MCR-1 | 10 1* | 10 3 |
| E. coli E16 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E18 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E43 | 16 | 16 | MCR-1 | 10 1* | 10 3 |
| E. coli E46 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E28 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli E26 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli 27852 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli 35062 | 16 | 16 | MCR-1 | 10 1* | 10 3 |
| E. coli 37914 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli 41323 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli 41339 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli 41848 | 16 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli 412044854 | 16 | 8 | MCR-1 | 10 1 | 10 1 |
| E. coli 413040864 | 16 | 8 | MCR-1 | 10 1 | 10 1 |
| E. coli 34692 | 16 | 8 | MCR-1 | 10 1* | 10 2 |
| E. coli E45 | 8 | 16 | MCR-1 | 10 1 | 10 1 |
| E. coli 32218 | 8 | 8 | MCR-1 | 10 1 | 10 1 |
| * Enhanced Sensitivity of CHROMagar COL-APSE |  |  |  |  |  |
| †Enhanced Sensitivity of SuperPolymyxin |  |  |  |  |  |

Fig. 1. Comparative Growth on CHROMagar base media, CHROMagar COL-APSE and SuperPolymyxin of COL susceptible and resistant Isolates: Strains were streaked on the same segments of corresponding plates.

Fig. 2  Growth on CHROMagar base media and CHROMagar COL-APSE of simulated pools of COL susceptible and COL resistant strains.

A: CHROMagar COL-APSE – simulated pool containing A.baumannii AB205 (COL R), E. coli E7 (COL R). E. cloacae NCTC 10005 (COL R), E. faecalis ATCC 2912 (COL R), K. pneumoniae KP19 (COL R), M. morgannii MM2 (COL R), P. aeruginosa ATCC 27853 (COL heteroresistant), S. marcescens NCTC 10211 (COL R), P. mirabilis NCTC 13376 (COL R). Plate inoculated with L-shaped spreader.

B: CHROMagar COL-APSE + 50 mg/L p-nitrophenyl glycerol (PNPG) simulated pool containing A.baumannii AB205 (COL R), E. coli E7 (COL R). E. cloacae NCTC 10005 (COL R), E. faecalis ATCC 2912 (COL R), K. pneumoniae KP19 (COL R), M. morgannii MM2 (COL R), P. aeruginosa ATCC 27853 (COL heteroresistant), S. marcescens NCTC 10211 (COL R), P. mirabilis NCTC 13376 (COL R). Plate inoculated with L-shaped spreader.

C: CHROMagar COL-APSE – simulated pool containing A.baumannii AB205 (COL R), E. coli E7 (COL R). E. cloacae NCTC 10005 (COL R), E. faecalis ATCC 2912 (COL R), K. pneumoniae KP19 (COL R), M. morgannii MM2 (COL R), P. aeruginosa ATCC 27853 (COL heteroresistant), S. marcescens NCTC 10211 (COL R), P. mirabilis NCTC 13376 (COL R). Plate inoculated by streaking method.

D: CHROMagar COL-APSE  + 50 mg/L p-nitrophenyl glycerol (PNPG) - simulated pool containing A.baumannii AB205 (COL R), E. coli E7 (COL R). E. cloacae NCTC 10005 (COL R), E. faecalis ATCC 2912 (COL R), K. pneumoniae KP19 (COL R), M. morgannii MM2 (COL R), P. aeruginosa ATCC 27853 (COL heteroresistant), S. marcescens NCTC 10211 (COL R), P. mirabilis NCTC 13376 (COL R). Plate inoculated by streaking method.

E: CHROMagar COL-APSE - simulated pool containing A.baumannii ATCC 19606 (COL S), E. coli ATCC 25922 (COL S). E. faecalis ATCC 2912 (COL R), P. aeruginosa ATCC 27853 (COL heteroresistant), K. pneumoniae ATCC 9633 (COL S). Plate inoculated with L-shaped spreader.

F: CHROMagar COL-APSE + 50 mg/L p-nitrophenyl glycerol (PNPG) - simulated pool containing A.baumannii ATCC 19606 (COL S), E. coli ATCC 25922 (COL S). E. faecalis ATCC 2912 (COL R), P. aeruginosa ATCC 27853 (COL heteroresistant), K. pneumoniae ATCC 9633 (COL S). Plate inoculated with L-shaped spreader